|  | Electronic Imaging Resource Guide Section 1: Fundamental Parameters of an Imaging System Field of View (FOV): The viewable area of the object under inspection. In other words, this is the portion of the object that fills the camera’s sensor. Working Distance (WD): The distance from the front of the lens to the object under inspection. Resolution: The minimum feature size of the object that can be distinguished by the imaging system (more in-depth discussion in Sect. 2.1) Depth of Field (DOF): The maximum object depth that can be maintained entirely in focus. DOF is also the amount of object movement (in and out of best focus) allowable while maintaining a desired amount of focus (more in-depth discussion in Sect. 2.2). Sensor Size: The size of a camera sensor’s active area, typically specified in the horizontal dimension. This parameter is important in determining the proper lens magnification required to obtain a desired field of view. The primary magnification (PMAG) of the lens is defined as the ratio between the sensor size and the FOV. Although sensor size and field of view are fundamental parameters, it is important to realize that PMAG is not. |
| --- | --- |

Figure 1: Illustration of fundamental parameters of an imaging system.

The following formula calculates primary magnification: PMAG = Sensor Size (mm) / Field of View (mm)

Figure 2: Illustration of primary magnification and the relationship between sensor size and FOV